## Slide 1: Jupyter notebooks and their widgets
Jean Bilheux
Neutron Imaging Computer Instrument Scientist
Materials Engineering Group
Neutron Scattering Division
Development
ASM - 2023

## Slide 2: Table of Contents
Neutron imaging technique
Jupyter notebooks
Hands on using simple jupyter notebooks
Make a Jupyter notebook interactive
More advanced notebooks with widgets
Standalone interface
https://github.com/neutrons/asm_2023/tree/main/jean
Notes: Here is how we gonna spent the next 45 minutes.
I will start by showing you what I have been doing before joining the imaging team.
Then in the first part I will describe my work as an imaging software developer
In the second part, I will talk about my work as Embedded imaging software developer and you will see how much the *embedded* word is important.
Finally I will give my vision of the CIS position

## Slide 3: Neutron Imaging Technique
https://pan-learning.org/wiki/index.php/Introduction_to_neutron_scattering
Fission (Continuous)
Spallation (Pulsed)

## Slide 4: MARS
IMAGING (CG-1D)
Neutron beam
Detector (CCD)
Flight tube (He filled)
Sample table
Rotation stage
Beam stop
Gap between lines = 100 μm
Gap between lines = 20 μm
(HFIR layout figures are courtesy of Georg Ehlers )
Attenuation counts
HFIR Cold Guide Hall

## Slide 5: VENUS
A wavelength dependent imaging beamline with a detector position at 25m with a maximum field-of-view of 20 x 20 cm2 and a spatial resolution of ~ 100 m
Optimized for unique imaging capabilities:
  Bragg-edge imaging – quantitative interpretation of total cross-section provides crystalline structure characterization (cold neutrons ~ meV, 10 s time resolution)
  Resonance imaging – isotopic-sensitive spatially-resolved spectroscopy technique (epithermal neutrons ~ eV, 100 ns time resolution)
Science areas: energy materials such as electrochemistry in battery cells, materials science including additively manufactured alloys and superalloys behavior under stress (heat, pressure), nuclear materials, archaeometry, etc.
VENUS Completion Date: Summer 2024
Schematic (top) and photograph (left) of VENUS

## Slide 6: Bragg edge imaging
Resonance imaging
Material Behavior: Monitoring residual strain relaxation and preferred grain orientation of additively manufactured Inconel 625 by in-situ neutron imaging
Microstrain
A.S. Tremsin et al, Additive Manufacturing 46 (2021) 102130.
Material Elemental/Isotopic Content: 3D maps of elemental/isotopic distribution in objects.
Zhang Y., Transactions of the American Nuclear Society, (2018).
VENUS

## Slide 7: Jupyter notebooks
Notes: Presentation of what they are, how to get them, and to run them

## Slide 8: Hand-on – cropping a stack of images
PLAN
Load the images
Visualize
Select region to crop
Visualize result
Export new images
jean/exercises/notebook_without_widgets_example1.ipynb

## Slide 9: Hand-on – cropping a stack of images
NEW PLAN using widgets
Load the images
Visualize
Select region to crop
Visualize result
Export new images

## Slide 10: More advanced used of widgets
Timepix3
  Fitting Bragg peaks
  IPTS-30008 / run58682_histo.h5 / time_shift=11876 / offset=1863 / Ta
Topaz config file
  Create a config file, later used by a script
Registration
  IPTS-19921
iBeatles
  /SNS/VENUS/shared/SNAP_calibration_Ni_Powder

## Slide 11: Infos
Neutron imaging web site (https://neutronimaging.ornl.gov/)
  All notebooks tutorials
  Many “how to…” guides
List of ipywidgets (https://ipywidgets.readthedocs.io/en/latest/examples/Widget%20List.html)
My blog with many python tricks I found out over the years (https://jeanbilheux.wordpress.com/)
Useful python librairies
  pyqtgraph
  matplotlib
  numpy
  pandas
  scikit-image
  piillow
  ipywe